SECTION 012100 –ALLOWANCES

Latest Update: 8/6/2026

(A/E shall edit specifications and blue text in header to meet project requirements. This includes but is not limited to updating Equipment and/or Material Model Numbers indicated in the specifications and adding any additional specifications that may be required by the project. Remove text underlines and highlights)

GENERAL

SUMMARY

Section includes administrative and procedural requirements governing allowances.

Types of allowances may include the following:

Lump-sum allowances.

Unit-cost allowances.

Quantity allowances.

Testing and inspecting allowances.

Upon completion of the Work covered by an allowance, the allowance shall be reconciled to the actual cost incurred. The Contract Sum shall be increased or decreased by Change Order, if appropriate, to reflect the difference between the allowance amount and the actual cost. Allowances must be reconciled and Change Order requested prior to submitting application for final payment.

SELECTION AND PURCHASE

At the earliest practical date after award of the Contract, advise University of the date when final selection, or purchase and delivery, of each product or system described by an allowance must be completed by the University to avoid delaying the Work.

At University's request, obtain proposals for each allowance for use in making final selections. Include recommendations that are relevant to performing the Work.

Purchase products and systems selected by University from the designated supplier.

ACTION SUBMITTALS

Coordinate and process submittals for allowance items in same manner as for other portions of the Work.

ALLOWANCE USE SUBSTANTIATION REQUIRED

Submit invoices or delivery slips to show actual quantities of materials delivered to the site for use in fulfillment of each allowance.

Submit time sheets and other documentation to show labor time and cost for installation of allowance items that include installation as part of the allowance.

ALLOWANCE USAGE

Allowance shall include cost to Contractor of specific products and materials ordered by University or selected by University or Architect under allowance and shall include [taxes, ]freight[,] and delivery to Project site.

Unless otherwise indicated, Contractor's costs for receiving and handling at Project site, labor, installation, overhead and profit, and similar costs related to products and materials ordered by University or selected by University or Architect under allowance shall be included as part of the Contract Sum and not part of the allowance.

Unused Materials: Return unused materials purchased under an allowance to manufacturer or supplier for credit to University after installation has been completed and accepted.

If requested by University or Architect, retain and prepare unused material for storage by University. Deliver unused material to University's storage space as directed.

Disposition of Unused Materials: At the University’s direction, unused materials purchased under an allowance shall be returned to the manufacturer or supplier for credit to the University where practical. Where return for credit is not economically feasible, or when directed by the University, prepare unused materials for storage and deliver to the University’s designated storage location. The University may direct disposition of unused allowance materials at any time during the Contract period.

TESTING AND INSPECTING ALLOWANCES

<EDIT FOR PARTICULAR PROJECT>

        - Testing and inspecting allowances include the cost of engaging testing agencies, actual tests and inspections, and reporting results.

The allowance does not include incidental labor required to assist the testing agency or costs for retesting if previous tests and inspections result in failure. The cost for incidental labor to assist the testing agency shall be included in the Contract Sum.

Costs of testing and inspection services not specifically required by the Contract Documents are Contractor responsibilities and are not included in the allowance.

At Project closeout, credit unused amounts remaining in the testing and inspecting allowance to University by Change Order.

Contractor Responsibilities: Costs for incidental labor required to assist testing or inspection agencies, as well as costs associated with retesting resulting from failure of previous tests or inspections, are Contractor responsibilities and shall be included in the Contract Sum. Such costs shall not be charged against testing and inspecting allowances.

ADJUSTMENT OF ALLOWANCES

Allowance Adjustment: To adjust allowance amounts, prepare a Change Order proposal based on the difference between purchase amount and the allowance, multiplied by final measurement of work-in-place where applicable. If applicable, include reasonable allowances for cutting losses, tolerances, mixing wastes, normal product imperfections, required maintenance materials, and similar margins.

Include installation costs in purchase amount only where indicated as part of the allowance.

If requested, prepare explanation and documentation to substantiate distribution of overhead costs and other markups.

Submit substantiation of a change in scope of Work, if any, claimed in Change Orders related to unit-cost allowances.

University reserves the right to establish the quantity of work-in-place by independent quantity survey, measure, or count.

Submit claims for increased costs because of a change in scope or nature of the allowance described in the Contract Documents, whether for the purchase order amount or the Contractor's handling, labor, installation, overhead, and profit.

Do not include the Contractor's or sub-contractors indirect expense in the Change Order cost amount unless it is clearly shown that the nature or extent of work has changed from what could have been foreseen from information in Contract Documents.

No change to the Contractor's indirect expense is permitted for selection of higher or lower priced materials or systems of the same scope and nature as originally indicated-priced materials or systems of the same scope and nature as originally indicated.

PRODUCTS (Not Used)

EXECUTION

EXAMINATION

Examine products covered by an allowance promptly on delivery for damage or defects. Return damaged or defective products to manufacturer for replacement.

PREPARATION

Coordinate materials and their installation for each allowance with related materials and installations to ensure that each allowance item is completely integrated and interfaced with related work.

SCHEDULE OF ALLOWANCES

<INSERT SCHEDULE OF PLANNED ALLOWANCES>

END OF SECTION 012100