SECTION 012200 – UNIT PRICES

Latest Update: 8/6/2026

(A/E shall edit specifications and blue text in header to meet project requirements. This includes but is not limited to updating Equipment and/or Material Model Numbers indicated in the specifications and adding any additional specifications that may be required by the project. Remove text underlines and highlights)

GENERAL

SUMMARY

This Section includes administrative and procedural requirements for unit prices.

PROCEDURES

Unit prices include all necessary material, plus cost for delivery, installation, insurance, overhead, profit, and applicable taxes. Unit prices are applicable to both additions and deletions.

Measurement and Payment: Refer to individual Specification Sections for work that requires establishment of unit prices.  Methods of measurement and payment for unit prices are specified in those Sections.

The University reserves the right to reject the Contractor's measurement of work-in place-place that involves use of established unit prices, and to have this work measured, at the University's expense, by an independent surveyor acceptable to the Contractor.

Schedule: A "Unit Price Schedule" is included at the end of this Section.  Specification Sections referenced in the Schedule contain requirements for materials described under each unit price.

PRODUCTS (Not Applicable)

EXECUTION

UNIT PRICE SCHEDULE

<INSERT SCHEDULE>

END OF SECTION